|  |  | Mental Health Service |
| --- | --- | --- |

Cleaning Products for use in Mental Health

| Neutral Detergent Wipes |  |
| --- | --- |
|  | - Use for general cleaning in office areas and throughout the ward. - Can be used as the first step of a two-step clean or terminal clean (i.e. clean bulk matter off with this product then wipe with a disinfectant such as Clinell, Viraclean or Sani Cloth Chlor +1000) |

| Clinell Universal Disinfectant Wipes |  |
| --- | --- |
|  | - Use for surface cleaning and wiping down medical equipment. - Destroys COVID-19. |

| Sani Cloth Chlor +1000 - Bleach Wipes |  |
| --- | --- |
|  | - Use for disinfecting hard surfaces, fixtures and fittings, e.g. door handles, desks, beds and mattresses. - Destroys COVID-19. - Can be harsh on tubing and soft materials such as blood pressure cuffs. |

| Viraclean Spray and Pour Bottles |  |
| --- | --- |
|  | - Use for disinfecting hard surfaces, fixtures and fittings, e.g. door handles, desks, beds and mattresses. - Use the pour top where possible. - Wear goggles when using trigger spray. - Use neat for disinfecting. - Destroys COVID-19. |

| ISOWIPE Alcohol |  |
| --- | --- |
|  | - Use to clean keyboards, laptops, pens and other metal items. - You must use a neutral detergent wipe beforehand to ensure that it is effective against viruses. - Destroys COVID-19 but not good for larger areas or glass and plastic (it can melt and ruin clear plastics). |

Don’t forget to:

- Wear gloves for general cleaning and other PPE where there is potential COVID-19 contamination.

- Use friction to ensure any contaminants are removed.

- Make sure the surface you are cleaning is moist from the wipe – use another if necessary so that the chemicals in the wipes can do their work.

- Allow the surface to air dry before you use it.

- Dispose of your gloves appropriately afterward and……….

- WASH YOUR HANDS!